Title: Vi1003M A&E Spec
Author: SW
Last saved by: Ali Eghbal
Company: Vigitron
Document comments: Equivalent Specification to NVT-214-A-M or Nitek VB39M

Unshielded Twisted-Pair Video Transceiver 
Architecture and Engineering Bid Specification - Page  Vigitron Vi1001M or equivalent

TECHNICAL SPECIFICATIONS                                                   		SECURITY SYSTEM
DIVISION 16 - ELECTRICAL
SECTION 16770 - CLOSED CIRCUIT TELEVISION (CCTV) SYSTEM/ Cable Transmission and Reception Equipment

PART 2 – PRODUCTS                 

2.1	 GENERAL

A.	All equipment shall be standard components that are regularly manufactured and available.

B.	All systems and components shall have been tested and verified in actual use.

C.	All equipment shall be provided with the availability of a U.S.A toll-free technical support number from the manufacturer. The number shall provide technical assistance to the caller at no charge for as long as the product is installed.

2.2	UNSHIELDED TWISTED-PAIR PASSIVE VIDEO TRANSCEIVER

A.	The UTP Video Transceiver shall be capable of transmitting and receiving baseband monochrome or color video signals over unshielded twisted-pair (UTP) telephone wire to a passive transceiver up to a distance of 750 feet (230 m) without requiring power 
		
B.	If used as a Transmitter, Distances up to 3,000 feet (915 m) shall be supported when used in conjunction with an approved active receiver, and support a minimum of 500 lines of video resolution.

C.	If used as a Transmitter, the device shall accept a baseband video signal, each from a 75-ohm source.

D.	If used as a Receiver, the device shall produce a baseband video signal capable of driving a 75-ohm load.

E.	Bi-directional signal transmission via the Vertical Interval of the video signal shall be supported up to 750 feet (230 m) when using this transceiver to transmit the signal to another passive receiver, so long as all other requirements are met. These signals are typically known as “Up the Coax” control, used to facilitate Pan/Tilt/Zoom functionality with the appropriate and compatible PTZ hardware.

F.	The transceiver shall have built-in differential transient protection without the need for a ground connection.

G.	The transceiver shall be equipped with corrosion-resistant screw terminals for connection to UTP wire.

H.	The transceiver housing shall be equipped with an integrated male BNC for 75-ohm camera connection.  

I.	The transceiver shall interlock directly to the BNC receptacle, without requiring additional mounting hardware

J.	The transceiver shall deliver signals operating in the same cable bundle as telephone, data, low voltage or other video signals, without interference.

K.	The transceiver shall meet or exceed the following performance specifications:
a.	Typical common-mode rejection of 60 dB between the frequencies of 15 KHz-5 MHz.
b.	The receiver device shall be compatible with NTSC, PAL and SECAM color video standards.
c.	Compatible with 0.6 to 1.6 Vpp composite color or black and white video signals into 75 Ohms.
d.	Frequency response from DC to 6 MHz.
e.	Typical Insertion Loss of 0.5 dB or better.
f.	Transient immunity of per IEEE Std C62.41, formerly known as IEEE Std 587 (IEEE Recommended Practice for Surge Voltages in Low-Voltage AC Power Circuits).
g.	The transceiver shall be suitable for indoor use or for outdoor use in an environmental enclosure at an operating temperature range –20 to 75 degrees Celsius. 

L.	The transceiver shall be compatible with 24-16 AWG UTP wire.

M.	The transceiver shall be compatible with Category 2 or better UTP wire at as specified in this document

N.	The transceiver shall weigh no more than 0.7 oz (20 g)

O.	The transceiver body dimensions shall not exceed 1.26” x 0.94” x 0.55”, (32 mm, 23.9mm, 14 mm) 

P.	The transceiver shall be UL/cUL listed, and CE Compliant.

Q.	The transceiver manufacturer shall provide a limited lifetime warranty.

R.	The UTP passive video transceiver, shall be the :
a.	Vigitron Vi1001M or
b.	Equivalent product
<!DOCTYPE html PUBLIC "-//W3C//DTD XHTML 1.0 Transitional//EN" "http://www.w3.org/TR/xhtml1/DTD/xhtml1-transitional.dtd"><html xmlns="http://www.w3.org/1999/xhtml"><head id="ctl00_Head1"><meta content="text/html; charset=utf-8" http-equiv="Content-Type" /><title>	Resources</title><link rel="SHORTCUT ICON" href="vigifavicon.ico" type="image/x-icon" /><link rel="ICON" href="vigifavicon.ico" type="image/x-icon" /><meta id="ctl00_myKeywords" name="keywords" /><meta id="ctl00_myDescription" name="description" /><meta id="ctl00_Title" name="Title" /><meta id="ctl00_abstract" name="abstract" /><meta id="ctl00_robots" name="robots" /><meta id="ctl00_MSSmartTagsPreventParsing" name="MSSmartTagsPreventParsing" content="TRUE" /><link rel="apple-touch-icon" href="http://www.vigitron.com/apple-touch-icon.png" /><link href="http://www.vigitron.com/JS/Calendar/dhtmlgoodies_calendar/dhtmlgoodies_calendar.css" rel="Stylesheet" type="text/css" />    <script type="text/javascript" language="javascript" src="http://www.vigitron.com/JS/Calendar/dhtmlgoodies_calendar/dhtmlgoodies_calendar.js"></script>        <link href="http://www.vigitron.com/jquery/jquery.alerts.css" rel="stylesheet" />    <script language="javascript" src="http://www.vigitron.com/jquery/jquery-1.2.6.js" type="text/javascript"></script>    <script type="text/javascript" src="http://www.vigitron.com/jquery/jquery.alerts.js"></script>    <link href="http://www.vigitron.com/menufiles/style.css" rel="stylesheet" type="text/css" /><link href="http://www.vigitron.com/menufiles/jquerycssmenu.css" rel="stylesheet" type="text/css" />    <!--[if lte IE 7]><style type="text/css">html .jquerycssmenuheight: 1%; /*Holly Hack for IE7 and below*/</style><![endif]-->    <!--[if IE]><link rel="stylesheet" type="text/css" href="iehacks.css" /><![endif]-->    <link href="http://www.vigitron.com/tabs/SpryTabbedPanels.css" rel="stylesheet" type="text/css" /><link href="http://www.vigitron.com/tabs/skin.css" rel="stylesheet" type="text/css" />    <script src="http://www.vigitron.com/tabs/SpryTabbedPanels.js" type="text/javascript"></script>    <script src="http://www.vigitron.com/menufiles/jquery1-2-6.js" type="text/javascript"></script>    <script src="http://www.vigitron.com/menufiles/jquerycssmenu.js" type="text/javascript"></script>    <link href="http://www.vigitron.com/menufiles/SprySlidingPanels.css" rel="stylesheet" type="text/css" />    <script src="http://www.vigitron.com/menufiles/SprySlidingPanels.js" type="text/javascript"></script>    <script language="javascript" type="text/javascript">        function OnFocus(elementId, defaultText)             if (document.getElementById(elementId).value == defaultText)                 document.getElementById(elementId).value = "";                            function OnBlur(elementId, defaultText)             var textValue = document.getElementById(elementId).value;            if (textValue == defaultText || textValue.length == 0)                 document.getElementById(elementId).value = defaultText;                        </script>    <style type="text/css">        .linkHome                    background: url(http://www.vigitron.com/images/bg_nav-hover.gif) center top no-repeat;            </style>    <link href="http://www.vigitron.com/vigitron_stylesheet.css" rel="stylesheet" />    <script type="text/JavaScript"><!--        function MM_preloadImages()  //v3.0            var d = document; if (d.images)                 if (!d.MM_p) d.MM_p = new Array();                var i, j = d.MM_p.length, a = MM_preloadImages.arguments; for (i = 0; i < a.length; i++)                    if (a[i].indexOf("#") != 0)  d.MM_p[j] = new Image; d.MM_p[j++].src = a[i];                              function MM_swapImgRestore()  //v3.0            var i, x, a = document.MM_sr; for (i = 0; a && i < a.length && (x = a[i]) && x.oSrc; i++) x.src = x.oSrc;                function MM_findObj(n, d)  //v4.01            var p, i, x; if (!d) d = document; if ((p = n.indexOf("?")) > 0 && parent.frames.length)                 d = parent.frames[n.substring(p + 1)].document; n = n.substring(0, p);                        if (!(x = d[n]) && d.all) x = d.all[n]; for (i = 0; !x && i < d.forms.length; i++) x = d.forms[i][n];            for (i = 0; !x && d.layers && i < d.layers.length; i++) x = MM_findObj(n, d.layers[i].document);            if (!x && d.getElementById) x = d.getElementById(n); return x;                function MM_swapImage()  //v3.0            var i, j = 0, x, a = MM_swapImage.arguments; document.MM_sr = new Array; for (i = 0; i < (a.length - 2); i += 3)                if ((x = MM_findObj(a[i])) != null)  document.MM_sr[j++] = x; if (!x.oSrc) x.oSrc = x.src; x.src = a[i + 2];         //-->    </script>    <!-- ADDED BY UROOJ ON 15-FEB-12 -->    <style type="text/css">        .goog-te-menu-value                    font: 10px "Trebuchet MS";                .goog-te-menu-value span                    color: #666666;            height: 17px;                .skiptranslate goog-te-gadget                    height: 17px;            border: 0px;                /*.goog-te-gadget-simple         border:0px;        height:17px;    */.goog-te-gadget-simple                    background-color: #fff;            border-left: 1px solid #7F9DB9;            border-top: 1px solid #7F9DB9;            border-bottom: 1px solid #7F9DB9;            border-right: 1px solid #7F9DB9;            font-size: 10pt;            padding-top: 1px;            padding-bottom: 2px;            cursor: pointer;            height: 17px;                .goog-te-gadget-icon                    width: 75px;            height: 17px;            </style></head><body>    <form name="aspnetForm" method="post" action="resources.aspx" id="aspnetForm"><div><input type="hidden" name="__EVENTTARGET" id="__EVENTTARGET" value="" /><input type="hidden" name="__EVENTARGUMENT" id="__EVENTARGUMENT" value="" /><input type="hidden" name="__LASTFOCUS" id="__LASTFOCUS" value="" /><input type="hidden" name="__VIEWSTATE" id="__VIEWSTATE" value="[encoded data, 26704 characters]" /></div><script type="text/javascript">//<![CDATA[var theForm = document.forms['aspnetForm'];if (!theForm)     theForm = document.aspnetForm;function __doPostBack(eventTarget, eventArgument)     if (!theForm.onsubmit || (theForm.onsubmit() != false))         theForm.__EVENTTARGET.value = eventTarget;        theForm.__EVENTARGUMENT.value = eventArgument;        theForm.submit();    //]]></script><div>	<input type="hidden" name="__VIEWSTATEGENERATOR" id="__VIEWSTATEGENERATOR" value="D70C9BAD" /></div>    <!--TOPMOST HEADER STARTS EHRE-->    <div id="topheader_background">        <div id="ctl00_header" class="header" style="background:url(http://www.vigitron.com/Admin/BackgroundImage/Top-Banner_4.jpg) no-repeat;">            <div class="logo">                <a href="http://www.vigitron.com/default.aspx">                    <img alt="logo" border="0" src="http://www.vigitron.com/images/vigitron_logo (2).gif" /></a></div>            <div style="border: 0px #7F9DB9 solid; float: right; top: 23px; position: absolute; right: 31px;">                <div id="google_translate_element">                </div>                <script type="text/javascript">                    function googleTranslateElementInit()                         new google.translate.TranslateElement(                            pageLanguage: 'en',                            autoDisplay: false,                            gaTrack: true,                            gaId: 'UA-10614503-2',                            layout: google.translate.TranslateElement.InlineLayout.SIMPLE                        , 'google_translate_element');                                    </script>                <script src="//translate.google.com/translate_a/element.js?cb=googleTranslateElementInit"></script>            </div>            <div style="border: 0px green solid; float: right; margin-top: 3px;">                <input name="ctl00$txtsearch" type="text" id="ctl00_txtsearch" class="searchField" value=" Search" style="width: 120px;" onfocus="OnFocus('ctl00_txtsearch',' Search')" onblur="OnBlur('ctl00_txtsearch',' Search')" />                <div class="searchBtn" style="overflow: hidden;">                    <input type="image" name="ctl00$srchbutton" id="ctl00_srchbutton" src="http://www.vigitron.com/images/new_search_icon.jpg" style="border-width:0px;" />                </div>            </div>            <p>                &nbsp;            </p>        </div>    </div>    <!--TOPMOST HEADER ENDS EHRE-->    <!--NAVIGATION SECTION STARTS EHRE-->    <div class="platform" style="background: url(http://www.vigitron.com/images/bg_navigation.gif) repeat-x;">        <div id="Nav">            <div id="myjquerymenu" class="jquerycssmenu">                <ul><li class='fix1'><a class='linkProducts' href='http://www.vigitron.com/Vigitron_Video_Transmission_Products.aspx' style='border: none;'>PRODUCTS</a><ul><li><a href='http://www.vigitron.com/ID/112/Vigitron_Network_Switches.aspx'>Network Switches<span class='rightarrowclass'>></span></a><ul><li><a href='http://www.vigitron.com/111/Vi3010_MaxiiNet_10_port_Gigabit_Ethernet_L2_Plus_Managed_PoE_Switch.aspx'>Vi3010</a></li><li><a href='http://www.vigitron.com/98/Vi3026_MaxiiNet_Gigabit_Ethernet_L2_Plus_Managed_PoE_Switch.aspx'>Vi3026</a></li><li><a href='http://www.vigitron.com/114/Vi3326_MaxiiNet_Gigabit_Ethernet_L2_Plus_Managed_Switch.aspx'>Vi3326</a></li></ul></li><li><a href='http://www.vigitron.com/ID/117/Vigitron_SFP.aspx'>SFP<span class='rightarrowclass'>></span></a><ul><li><a href='http://www.vigitron.com/105/Vi00850MM_850_nm_Multi_Mode_SX_Small_Format_Pluggable_Fiber_Transceiver.aspx'>Vi00850MM</a></li><li><a href='http://www.vigitron.com/107/Vi01310MM_1310_nm_Multi_Mode_SX_Small_Format_Pluggable_Fiber_Transceiver.aspx'>Vi01310MM</a></li><li><a href='http://www.vigitron.com/106/Vi01310SM_1310_nm_Single_Mode_LX_Small_Format_Pluggable_Fiber_Transceiver.aspx'>Vi01310SM</a></li></ul></li><li><a href='http://www.vigitron.com/ID/12/Vigitron_IP_Video_Transmission_Solutions.aspx'>Ethernet Extenders<span class='rightarrowclass'>></span></a><ul><li><a href='#'>Ethernet Extender over Coax<span class='rightarrowclass'>></span></a><ul><li><a href='http://www.vigitron.com/102/Vi2400A_Mini_MaxiiCopper_High_Speed_Ethernet_Extender_over_Coax.aspx'>Vi2400A</a></li><li><a href='http://www.vigitron.com/4/Vi2401_Single_Port_MaxiiCopper_Ethernet_Extender_over_Coax.aspx'>Vi2401</a></li><li><a href='http://www.vigitron.com/91/Vi2401A_MaxiiCopper_High_Speed_Ethernet_Extender_over_Coax.aspx'>Vi2401A</a></li><li><a href='http://www.vigitron.com/70/Vi2404_4_Port_Ethernet_Extender_over_Coax.aspx'>Vi2404</a></li><li><a href='http://www.vigitron.com/95/Vi2404A_MaxiiCopper_4_port_High_Speed_Ethernet_Extenders_over_Coax.aspx'>Vi2404A</a></li><li><a href='http://www.vigitron.com/5/Vi2408_8_Port_MaxiiCopper_Ethernet_Extender_over_Coax.aspx'>Vi2408</a></li><li><a href='http://www.vigitron.com/96/Vi2408A_MaxiiCopper_8_port_High_Speed_Ethernet_Extenders_over_Coax.aspx'>Vi2408A</a></li><li><a href='http://www.vigitron.com/6/Vi2416_16_Port_MaxiiCopper_Ethernet_Extender_over_Coax.aspx'>Vi2416</a></li><li><a href='http://www.vigitron.com/97/Vi2416A_MaxiiCopper_16_port_High_Speed_Ethernet_Extenders_over_Coax.aspx'>Vi2416A</a></li><li><a href='http://www.vigitron.com/86/Vi2608_MaxiiPowerâ„¢_8_and_16_port_Coax_Ethernet_PoE_Extender.aspx'>Vi2608</a></li><li><a href='http://www.vigitron.com/87/Vi2616_MaxiiPowerâ„¢_8_and_16_port_Coax_Ethernet_PoE_Extender.aspx'>Vi2616</a></li></ul></li><li><a href='#'>Ethernet Extender over UTP<span class='rightarrowclass'>></span></a><ul><li><a href='http://www.vigitron.com/101/Vi2300A_Mini_MaxiiCopper_High_Speed_High_Power_Ethernet_Extender_over_UTP.aspx'>Vi2300A</a></li><li><a href='http://www.vigitron.com/7/Vi2301_Single_Port_MaxiiCopper_Ethernet_Extender_over_UTP.aspx'>Vi2301</a></li><li><a href='http://www.vigitron.com/90/Vi2301A_MaxiiCopper_High_Speed_High_Power_Ethernet_Extender_over_UTP.aspx'>Vi2301A</a></li><li><a href='http://www.vigitron.com/72/Vi2304_4_Port_Ethernet_Extender_over_UTP.aspx'>Vi2304</a></li><li><a href='http://www.vigitron.com/92/Vi2304A_MaxiiCopper_4_port_High_Speed_Ethernet_Extenders_over_UTP.aspx'>Vi2304A</a></li><li><a href='http://www.vigitron.com/8/Vi2308_8_Port_MaxiiCopper_Ethernet_Extender_over_UTP.aspx'>Vi2308</a></li><li><a href='http://www.vigitron.com/93/Vi2308A_MaxiiCopper_8_port_High_Speed_Ethernet_Extenders_over_UTP.aspx'>Vi2308A</a></li><li><a href='http://www.vigitron.com/9/Vi2316_16_Port_MaxiiCopper_Ethernet_Extender_over_UTP.aspx'>Vi2316</a></li><li><a href='http://www.vigitron.com/94/Vi2316A_MaxiiCopper_16_port_High_Speed_Ethernet_Extenders_over_UTP.aspx'>Vi2316A</a></li><li><a href='http://www.vigitron.com/84/Vi2508_MaxiiPowerâ„¢_8_and_16_port_PoE_UTP_Ethernet_Extender.aspx'>Vi2508</a></li><li><a href='http://www.vigitron.com/85/Vi2516_MaxiiPowerâ„¢_8_and_16_port_PoE_UTP_Ethernet_Extender.aspx'>Vi2516</a></li><li><a href='http://www.vigitron.com/88/Vi2701RX_MaxiiCopper_Ethernet_and_60W_PoE_Extender.aspx'>Vi2701RX</a></li><li><a href='http://www.vigitron.com/89/Vi2701TX_MaxiiCopper_Ethernet_and_60W_PoE_Extender.aspx'>Vi2701TX</a></li><li><a href='http://www.vigitron.com/113/Vi3002_MaxiiNet_Ethernet_and_60W_PoE_Repeater.aspx'>Vi3002</a></li></ul></li><li><a href='#'>Extended Ethernet Switch<span class='rightarrowclass'>></span></a><ul><li><a href='http://www.vigitron.com/69/Vi2804_Extended_Ethernet_Switch.aspx'>Vi2804</a></li><li><a href='http://www.vigitron.com/76/Vi2804P_Extended_Ethernet_Switch_with_PoE.aspx'>Vi2804P</a></li></ul></li><li><a href='#'>Installation</a><ul></ul></li></ul></li><li><a href='http://www.vigitron.com/ID/13/Vigitron_PoE_Video_Transmission_Solutions.aspx'>PoE Midspans<span class='rightarrowclass'>></span></a><ul><li><a href='http://www.vigitron.com/112/Vi2202_MaxiiPower_Dual_Port_60W_PoE_Midspan.aspx'>Vi2202</a></li><li><a href='http://www.vigitron.com/65/Vi2208_8_Port_MaxiiPower_POE_Midspan.aspx'>Vi2208</a></li><li><a href='http://www.vigitron.com/83/Vi2208A_MaxiiPower_8_and_16_port_High_Power_PoE_Midspan.aspx'>Vi2208A</a></li><li><a href='http://www.vigitron.com/10/Vi2216_16_Port_MaxiiPower_POE_Midspan.aspx'>Vi2216</a></li><li><a href='http://www.vigitron.com/82/Vi2216A_MaxiiPower_8_and_16_port_High_Power_PoE_Midspan.aspx'>Vi2216A</a></li><li><a href='http://www.vigitron.com/103/Vi2216LT_MaxiiPower_16_port_High_Power_PoE_Midspan.aspx'>Vi2216LT</a></li></ul></li><li><a href='http://www.vigitron.com/ID/11/Vigitron_UTP_Video_Transmission_Solutions.aspx'>Analog Video Transmission<span class='rightarrowclass'>></span></a><ul><li><a href='#'>Video-Power-Data<span class='rightarrowclass'>></span></a><ul><li><a href='http://www.vigitron.com/43/Vi1051VP_UTP_Combiner_Receiver.aspx'>Vi1051VP</a></li><li><a href='http://www.vigitron.com/44/Vi1053VPD_Video_Balun_Data_Power_Combiner.aspx'>Vi1053VPD</a></li><li><a href='http://www.vigitron.com/45/Vi1054VP_12_VDC_UTP_Combiner_Receiver.aspx'>Vi1054VP</a></li><li><a href='http://www.vigitron.com/46/Vi1204VPD_4_Channel_Video_Balun_Data_Power_Combiner_Hub.aspx'>Vi1204VPD</a></li><li><a href='http://www.vigitron.com/47/Vi1216VPD_16_Channel_Video_Balun_Data_Power_Combiner_Hub.aspx'>Vi1216VPD</a></li><li><a href='http://www.vigitron.com/48/Vi1304VPD_4_Channel_Video_Data_Power_Combiner_Hub.aspx'>Vi1304VPD</a></li><li><a href='http://www.vigitron.com/49/Vi1316VPD_16_Channel_Video_Data_Power_Combiner_Hub.aspx'>Vi1316VPD</a></li><li><a href='http://www.vigitron.com/50/Vi1408VPD_8_Channel_Powered_VPD_Combiner_Hub.aspx'>Vi1408VPD</a></li><li><a href='http://www.vigitron.com/51/Vi1416VPD_16_Channel_Powered_VPD_Combiner_Hub.aspx'>Vi1416VPD</a></li><li><a href='http://www.vigitron.com/52/Vi1508VPD_8_Channel_Powered_VPD_Combiner_Passive_transceiver_Hub.aspx'>Vi1508VPD</a></li><li><a href='http://www.vigitron.com/53/Vi1516VPD_16_Channel_Powered_VPD_Combiner_Passive_transceiver_Hub.aspx'>Vi1516VPD</a></li></ul></li><li><a href='#'>Active<span class='rightarrowclass'>></span></a><ul><li><a href='http://www.vigitron.com/42/Vi6100DR_Active_Video_Data_Receiver.aspx'>Vi6100DR</a></li><li><a href='http://www.vigitron.com/41/Vi6100DT_Active_Video_Data_Transmitter.aspx'>Vi6100DT</a></li><li><a href='http://www.vigitron.com/38/Vi6100VR_Active_Video_Receiver.aspx'>Vi6100VR</a></li><li><a href='http://www.vigitron.com/37/Vi6100VT_Active_Video_Transmitter.aspx'>Vi6100VT</a></li><li><a href='http://www.vigitron.com/54/Vi6104_4_Channel_Active_Video_Receiver_Hub.aspx'>Vi6104</a></li><li><a href='http://www.vigitron.com/55/Vi6108_8_Channel_Active_Video_Receiver_Hub.aspx'>Vi6108</a></li><li><a href='http://www.vigitron.com/56/Vi6116_16_Channel_Active_Video_Receiver_Hub.aspx'>Vi6116</a></li><li><a href='http://www.vigitron.com/57/Vi6132_32_Channel_Active_Video_Receiver_Hub.aspx'>Vi6132</a></li><li><a href='http://www.vigitron.com/40/Vi6200VR_Active_Receiver_with_AVC.aspx'>Vi6200VR</a></li><li><a href='http://www.vigitron.com/58/Vi6204_4_Channel_Active_Receiver_Hub_with_AVC.aspx'>Vi6204</a></li><li><a href='http://www.vigitron.com/59/Vi6208_8_Channel_Active_Receiver_Hub_with_AVC.aspx'>Vi6208</a></li><li><a href='http://www.vigitron.com/60/Vi6216_16_Channel_Active_Receiver_Hub_with_AVC.aspx'>Vi6216</a></li><li><a href='http://www.vigitron.com/61/Vi6232_32_Channel_Active_Receiver_Hub_with_AVC.aspx'>Vi6232</a></li><li><a href='http://www.vigitron.com/39/Vi6300VT_Active_Video_Transmitter.aspx'>Vi6300VT</a></li><li><a href='http://www.vigitron.com/62/Vi6308_8_Channel_Active_Receiver_Hub_with_AVC.aspx'>Vi6308</a></li><li><a href='http://www.vigitron.com/63/Vi6316_16_Channel_Active_Receiver_Hub_with_AVC.aspx'>Vi6316</a></li><li><a href='http://www.vigitron.com/64/Vi6332_32_Channel_Active_Receiver_Hub_with_AVC.aspx'>Vi6332</a></li></ul></li><li><a href='#'>Passive<span class='rightarrowclass'>></span></a><ul><li><a href='http://www.vigitron.com/23/VB1001F_Passive_Transceiver_Female_BNC.aspx'>VB1001F</a></li><li><a href='http://www.vigitron.com/24/VB1001M_Passive_Transceiver_Male_BNC.aspx'>VB1001M</a></li><li><a href='http://www.vigitron.com/25/VB1001P_Passive_Transceiver_9_Coax_with_Male_BNC.aspx'>VB1001P</a></li><li><a href='http://www.vigitron.com/26/VB1007M_Passive_Transceiver_Male_BNC.aspx'>VB1007M</a></li><li><a href='http://www.vigitron.com/30/Vi1001F_Passive_Transceiver_with_Surge_Protection_Female_BNC.aspx'>Vi1001F</a></li><li><a href='http://www.vigitron.com/31/Vi1001M_Passive_Transceiver_with_Surge_Protection_Male_BNC.aspx'>Vi1001M</a></li><li><a href='http://www.vigitron.com/29/Vi1001P_Passive_Transceiver_with_Surge_Protection_9_Coax_with_Male_BNC.aspx'>Vi1001P</a></li><li><a href='http://www.vigitron.com/27/Vi1003M_Passive_Transceiver_with_Surge_Protection_Right_Angle_Male_BNC.aspx'>Vi1003M</a></li><li><a href='http://www.vigitron.com/33/Vi1004_4_Channel_Passive_Hub.aspx'>Vi1004</a></li><li><a href='http://www.vigitron.com/28/Vi1006M_Passive_Transceiver_with_Surge_Protection.aspx'>Vi1006M</a></li><li><a href='http://www.vigitron.com/34/Vi1008_8_Channel_Passive_Hub.aspx'>Vi1008</a></li><li><a href='http://www.vigitron.com/35/Vi1016_16_Channel_Passive_Hub.aspx'>Vi1016</a></li><li><a href='http://www.vigitron.com/36/Vi1032_32_Channel_Passive_Hub.aspx'>Vi1032</a></li></ul></li></ul></li><li><a href='http://www.vigitron.com/ID/14/Vigitron_Coax_Video_Transmission_Solutions.aspx'>Coax Video<span class='rightarrowclass'>></span></a><ul><li><a href='#'>Isolation Transformer<span class='rightarrowclass'>></span></a><ul><li><a href='http://www.vigitron.com/11/Vi1060_Video_Isolation_Transformer.aspx'>Vi1060</a></li><li><a href='http://www.vigitron.com/12/Vi1061_Miniature_Video_Isolation_Transformer.aspx'>Vi1061</a></li><li><a href='http://www.vigitron.com/32/Vi1062_Isolated_Video_Balun.aspx'>Vi1062</a></li></ul></li></ul></li><li><a href='http://www.vigitron.com/ID/15/Vigitron_Power_Supplies.aspx'>Power Supplies<span class='rightarrowclass'>></span></a><ul><li><a href='http://www.vigitron.com/20/Vi0012_Wall_Mount_Power_Supply_12_VDC_@_1_A.aspx'>Vi0012</a></li><li><a href='http://www.vigitron.com/22/Vi0014_Wall_Mount_Power_Supply_12_VDC_@_3_A.aspx'>Vi0014</a></li><li><a href='http://www.vigitron.com/13/Vi1100PS_24_VAC_DC_to_12_VDC_Power_Supply.aspx'>Vi1100PS</a></li><li><a href='http://www.vigitron.com/14/Vi1108PS_8_Channel_24_28VAC_Isolated_Power_Supply.aspx'>Vi1108PS</a></li><li><a href='http://www.vigitron.com/15/Vi1116PS_16_Channel_24_28VAC_Isolated_Power_Supply.aspx'>Vi1116PS</a></li><li><a href='http://www.vigitron.com/74/Vi1120_High_Power_120W_56V_Power_Supply.aspx'>Vi1120</a></li></ul></li><li><a href='http://www.vigitron.com/ID/16/Vigitron_Accessories.aspx'>Accessories<span class='rightarrowclass'>></span></a><ul><li><a href='#'>IP Accessories<span class='rightarrowclass'>></span></a><ul><li><a href='http://www.vigitron.com/115/Vi0019_ViewMate_IP_Camera_Setup_and_PoE_Test_Tool.aspx'>Vi0019</a></li><li><a href='http://www.vigitron.com/77/Vi0021_ViewMate_POE_Camera_Setup_Tool.aspx'>Vi0021</a></li><li><a href='http://www.vigitron.com/104/Vi0030_MaxiiCopperâ„¢_2_Wire_Passive_Adapter.aspx'>Vi0030</a></li><li><a href='http://www.vigitron.com/75/Vi2001_Ethernet_Surge_Protector.aspx'>Vi2001</a></li></ul></li><li><a href='#'>Analog Accessories<span class='rightarrowclass'>></span></a><ul><li><a href='http://www.vigitron.com/16/Vi0010_Rack_panel_kit_supports_up_to_three_4_port_Hubs.aspx'>Vi0010</a></li><li><a href='http://www.vigitron.com/21/Vi0013_Mini_Coax_Jumper_Cables_2ft_8_Pack_.aspx'>Vi0013</a></li><li><a href='http://www.vigitron.com/116/Vi0116D_1_to_16_Port_RS485_RS422_Data_Distributor.aspx'>Vi0116D</a></li></ul></li></ul></li></ul></li><li class='fix2'><a class='linkTech' href='#'>TECHNICAL CENTER</a><ul><li><a href='http://www.vigitron.com/Selectionguide.aspx'>Selection Guide</a></li><li><a href='http://www.vigitron.com/InfrastructureApp.aspx'>Infrastructure Applications</a></li><li><a href='http://www.vigitron.com/power-distance-calculator.aspx'>Power/Distance Calculator</a></li><li><a href='http://www.vigitron.com/Faq.aspx'>FAQ</a></li><li><a href='http://www.vigitron.com/WhitePaper.aspx'>White Papers</a></li><li><a href='http://www.vigitron.com/Certified_IP_Cameras.aspx'>Certified IP Cameras</a></li><li><a href='#'>Design Assistance<span class='rightarrowclass'>></span></a><ul><li><a href='http://www.vigitron.com/IP_CCTV_Design_Assistance.aspx'>IP CCTV Design Assistance</a></li><li><a href='http://www.vigitron.com/Analog_CCTV_Design_Assistance.aspx'>Analog CCTV Design Assistance</a></li></ul></li></ul></li><li class='fix4'><a class='linkSales' href='#'>SALES</a><ul><li><a href='http://www.vigitron.com/UsRepresentatives.aspx?st=CA'>USA Representatives</a></li><li><a href='http://www.vigitron.com/int-representatives.aspx'>International Sales</a></li><li><a href='http://www.vigitron.com/ProjectRegistration.aspx'>Project Registration</a></li></ul></li><li class='fix5'><a class='linkNews' href='#'>NEWS</a><ul><li><a href='http://www.vigitron.com/VigitronNews.aspx'>Vigitron News</a></li><li><a href='http://www.vigitron.com/UpcomingEvents.aspx'>Upcoming Events</a></li></ul></li><li class='fix3'><a class='linkResources' href='http://www.vigitron.com/resources.aspx' style='background:url(http://www.vigitron.com/images/navarrow.jpg) no-repeat center top;'>RESOURCES</a></li><li class='fix6'><a style='padding-left:36px;' class='linkAbout' href='http://www.vigitron.com/ContactUs.aspx' >CONTACT&nbsp;US</a></li></ul>                <br style="clear: left">            </div>        </div>        <div class="container">            <div class="featured">                <div class="ftWrapper">                </div>            </div>        </div>    </div>    <!--NAVIGATION SECTION ENDS EHRE-->    <!--FLASH HOMEPAGE SECTION STARTS EHRE-->    <div id="homepageflash_background">        <div class="innerpage_bannersection" style="text-align: left;">            <div style="width: 540px; border: 0px solid #666; float: left; margin-top: 26px; margin-left: 211px; text-align: left; font: normal 21px Trebuchet MS, Arial, Helvetica, sans-serif; color: #fff; z-index: 1000px; position: absolute;">                <span id="ctl00_lblPageName">Resources</span><br />                            </div>                        <div style="position: relative; z-index: 300; border: 0px solid #666; float: right; top: 85px; margin-right: 12px;">                <div id="ctl00_divbreadcrum" class="breadcrum"><a href='default.aspx'>Home</a> &gt; <a href='resources.aspx'>Resources</a></div>            </div>        </div>    </div>    <!--FLASH HOMEPAGE SECTION ENDS	 EHRE-->                <!--FLASH HOMEPAGE SECTION ENDS	 EHRE-->    <!--BODY DATA SECTION STARTS HERE-->    <div id="data_bg">        <div class="data_container">            <div id="leftcolumn">    <h1>        <span id="ctl00_Left_lblProdtcSrch">Quick Product Search</span>    </h1>    <div style="height: 10px;">    </div>    <select name="ctl00$Left$ddlProduct" onchange="javascript:setTimeout('__doPostBack(ctl00$Left$ddlProduct,)', 0)" id="ctl00_Left_ddlProduct" class="textfield_01">	<option selected="selected" value="0">Select a Product</option>	<option value="VB1001F_Passive_Transceiver_Female_BNC~23">VB1001F</option>	<option value="VB1001M_Passive_Transceiver_Male_BNC~24">VB1001M</option>	<option value="VB1001P_Passive_Transceiver_9_Coax_with_Male_BNC~25">VB1001P</option>	<option value="VB1007M_Passive_Transceiver_Male_BNC~26">VB1007M</option>	<option value="Vi0010_Rack_panel_kit_supports_up_to_three_4_port_Hubs~16">Vi0010</option>	<option value="Vi0011_Wallmount_bracket_for_VPD_product~17">Vi0011</option>	<option value="Vi0012_Wall_Mount_Power_Supply_12_VDC_@_1_A~20">Vi0012</option>	<option value="Vi0013_Mini_Coax_Jumper_Cables_2ft_8_Pack_~21">Vi0013</option>	<option value="Vi0014_Wall_Mount_Power_Supply_12_VDC_@_3_A~22">Vi0014</option>	<option value="Vi0019_ViewMate_IP_Camera_Setup_and_PoE_Test_Tool~115">Vi0019</option>	<option value="Vi0020_ViewMate_POE_Camera_Setup_Tool~68">Vi0020</option>	<option value="Vi0021_ViewMate_POE_Camera_Setup_Tool~77">Vi0021</option>	<option value="Vi0030_MaxiiCopperâ„¢_2_Wire_Passive_Adapter~104">Vi0030</option>	<option value="Vi00850MM_850_nm_Multi_Mode_SX_Small_Format_Pluggable_Fiber_Transceiver~105">Vi00850MM</option>	<option value="Vi0116D_1_to_16_Port_RS485_RS422_Data_Distributor~116">Vi0116D</option>	<option value="Vi01310MM_1310_nm_Multi_Mode_SX_Small_Format_Pluggable_Fiber_Transceiver~107">Vi01310MM</option>	<option value="Vi01310SM_1310_nm_Single_Mode_LX_Small_Format_Pluggable_Fiber_Transceiver~106">Vi01310SM</option>	<option value="Vi1001F_Passive_Transceiver_with_Surge_Protection_Female_BNC~30">Vi1001F</option>	<option value="Vi1001M_Passive_Transceiver_with_Surge_Protection_Male_BNC~31">Vi1001M</option>	<option value="Vi1001P_Passive_Transceiver_with_Surge_Protection_9_Coax_with_Male_BNC~29">Vi1001P</option>	<option value="Vi1003M_Passive_Transceiver_with_Surge_Protection_Right_Angle_Male_BNC~27">Vi1003M</option>	<option value="Vi1004_4_Channel_Passive_Hub~33">Vi1004</option>	<option value="Vi1006M_Passive_Transceiver_with_Surge_Protection~28">Vi1006M</option>	<option value="Vi1008_8_Channel_Passive_Hub~34">Vi1008</option>	<option value="Vi1016_16_Channel_Passive_Hub~35">Vi1016</option>	<option value="Vi1032_32_Channel_Passive_Hub~36">Vi1032</option>	<option value="Vi1051VP_UTP_Combiner_Receiver~43">Vi1051VP</option>	<option value="Vi1053VPD_Video_Balun_Data_Power_Combiner~44">Vi1053VPD</option>	<option value="Vi1054VP_12_VDC_UTP_Combiner_Receiver~45">Vi1054VP</option>	<option value="Vi1060_Video_Isolation_Transformer~11">Vi1060</option>	<option value="Vi1061_Miniature_Video_Isolation_Transformer~12">Vi1061</option>	<option value="Vi1062_Isolated_Video_Balun~32">Vi1062</option>	<option value="Vi1100PS_24_VAC_DC_to_12_VDC_Power_Supply~13">Vi1100PS</option>	<option value="Vi1108PS_8_Channel_24_28VAC_Isolated_Power_Supply~14">Vi1108PS</option>	<option value="Vi1116PS_16_Channel_24_28VAC_Isolated_Power_Supply~15">Vi1116PS</option>	<option value="Vi1120_High_Power_120W_56V_Power_Supply~74">Vi1120</option>	<option value="Vi1204VPD_4_Channel_Video_Balun_Data_Power_Combiner_Hub~46">Vi1204VPD</option>	<option value="Vi1216VPD_16_Channel_Video_Balun_Data_Power_Combiner_Hub~47">Vi1216VPD</option>	<option value="Vi1304VPD_4_Channel_Video_Data_Power_Combiner_Hub~48">Vi1304VPD</option>	<option value="Vi1316VPD_16_Channel_Video_Data_Power_Combiner_Hub~49">Vi1316VPD</option>	<option value="Vi1408VPD_8_Channel_Powered_VPD_Combiner_Hub~50">Vi1408VPD</option>	<option value="Vi1416VPD_16_Channel_Powered_VPD_Combiner_Hub~51">Vi1416VPD</option>	<option value="Vi1508VPD_8_Channel_Powered_VPD_Combiner_Passive_transceiver_Hub~52">Vi1508VPD</option>	<option value="Vi1516VPD_16_Channel_Powered_VPD_Combiner_Passive_transceiver_Hub~53">Vi1516VPD</option>	<option value="Vi2001_Ethernet_Surge_Protector~75">Vi2001</option>	<option value="Vi2202_MaxiiPower_Dual_Port_60W_PoE_Midspan~112">Vi2202</option>	<option value="Vi2208_8_Port_MaxiiPower_POE_Midspan~65">Vi2208</option>	<option value="Vi2208A_MaxiiPower_8_and_16_port_High_Power_PoE_Midspan~83">Vi2208A</option>	<option value="Vi2216_16_Port_MaxiiPower_POE_Midspan~10">Vi2216</option>	<option value="Vi2216A_MaxiiPower_8_and_16_port_High_Power_PoE_Midspan~82">Vi2216A</option>	<option value="Vi2216LT_MaxiiPower_16_port_High_Power_PoE_Midspan~103">Vi2216LT</option>	<option value="Vi2300A_Mini_MaxiiCopper_High_Speed_High_Power_Ethernet_Extender_over_UTP~101">Vi2300A</option>	<option value="Vi2301_Single_Port_MaxiiCopper_Ethernet_Extender_over_UTP~7">Vi2301</option>	<option value="Vi2301A_MaxiiCopper_High_Speed_High_Power_Ethernet_Extender_over_UTP~90">Vi2301A</option>	<option value="Vi2304_4_Port_Ethernet_Extender_over_UTP~72">Vi2304</option>	<option value="Vi2304A_MaxiiCopper_4_port_High_Speed_Ethernet_Extenders_over_UTP~92">Vi2304A</option>	<option value="Vi2308_8_Port_MaxiiCopper_Ethernet_Extender_over_UTP~8">Vi2308</option>	<option value="Vi2308A_MaxiiCopper_8_port_High_Speed_Ethernet_Extenders_over_UTP~93">Vi2308A</option>	<option value="Vi2316_16_Port_MaxiiCopper_Ethernet_Extender_over_UTP~9">Vi2316</option>	<option value="Vi2316A_MaxiiCopper_16_port_High_Speed_Ethernet_Extenders_over_UTP~94">Vi2316A</option>	<option value="Vi2400A_Mini_MaxiiCopper_High_Speed_Ethernet_Extender_over_Coax~102">Vi2400A</option>	<option value="Vi2401_Single_Port_MaxiiCopper_Ethernet_Extender_over_Coax~4">Vi2401</option>	<option value="Vi2401A_MaxiiCopper_High_Speed_Ethernet_Extender_over_Coax~91">Vi2401A</option>	<option value="Vi2404_4_Port_Ethernet_Extender_over_Coax~70">Vi2404</option>	<option value="Vi2404A_MaxiiCopper_4_port_High_Speed_Ethernet_Extenders_over_Coax~95">Vi2404A</option>	<option value="Vi2408_8_Port_MaxiiCopper_Ethernet_Extender_over_Coax~5">Vi2408</option>	<option value="Vi2408A_MaxiiCopper_8_port_High_Speed_Ethernet_Extenders_over_Coax~96">Vi2408A</option>	<option value="Vi2416_16_Port_MaxiiCopper_Ethernet_Extender_over_Coax~6">Vi2416</option>	<option value="Vi2416A_MaxiiCopper_16_port_High_Speed_Ethernet_Extenders_over_Coax~97">Vi2416A</option>	<option value="Vi2508_MaxiiPowerâ„¢_8_and_16_port_PoE_UTP_Ethernet_Extender~84">Vi2508</option>	<option value="Vi2516_MaxiiPowerâ„¢_8_and_16_port_PoE_UTP_Ethernet_Extender~85">Vi2516</option>	<option value="Vi2608_MaxiiPowerâ„¢_8_and_16_port_Coax_Ethernet_PoE_Extender~86">Vi2608</option>	<option value="Vi2616_MaxiiPowerâ„¢_8_and_16_port_Coax_Ethernet_PoE_Extender~87">Vi2616</option>	<option value="Vi2701RX_MaxiiCopper_Ethernet_and_60W_PoE_Extender~88">Vi2701RX</option>	<option value="Vi2701TX_MaxiiCopper_Ethernet_and_60W_PoE_Extender~89">Vi2701TX</option>	<option value="Vi2804_Extended_Ethernet_Switch~69">Vi2804</option>	<option value="Vi2804P_Extended_Ethernet_Switch_with_PoE~76">Vi2804P</option>	<option value="Vi3002_MaxiiNet_Ethernet_and_60W_PoE_Repeater~113">Vi3002</option>	<option value="Vi3010_MaxiiNet_10_port_Gigabit_Ethernet_L2_Plus_Managed_PoE_Switch~111">Vi3010</option>	<option value="Vi3026_MaxiiNet_Gigabit_Ethernet_L2_Plus_Managed_PoE_Switch~98">Vi3026</option>	<option value="Vi3326_MaxiiNet_Gigabit_Ethernet_L2_Plus_Managed_Switch~114">Vi3326</option>	<option value="Vi6100DR_Active_Video_Data_Receiver~42">Vi6100DR</option>	<option value="Vi6100DT_Active_Video_Data_Transmitter~41">Vi6100DT</option>	<option value="Vi6100VR_Active_Video_Receiver~38">Vi6100VR</option>	<option value="Vi6100VT_Active_Video_Transmitter~37">Vi6100VT</option>	<option value="Vi6104_4_Channel_Active_Video_Receiver_Hub~54">Vi6104</option>	<option value="Vi6108_8_Channel_Active_Video_Receiver_Hub~55">Vi6108</option>	<option value="Vi6116_16_Channel_Active_Video_Receiver_Hub~56">Vi6116</option>	<option value="Vi6132_32_Channel_Active_Video_Receiver_Hub~57">Vi6132</option>	<option value="Vi6200VR_Active_Receiver_with_AVC~40">Vi6200VR</option>	<option value="Vi6204_4_Channel_Active_Receiver_Hub_with_AVC~58">Vi6204</option>	<option value="Vi6208_8_Channel_Active_Receiver_Hub_with_AVC~59">Vi6208</option>	<option value="Vi6216_16_Channel_Active_Receiver_Hub_with_AVC~60">Vi6216</option>	<option value="Vi6232_32_Channel_Active_Receiver_Hub_with_AVC~61">Vi6232</option>	<option value="Vi6300VT_Active_Video_Transmitter~39">Vi6300VT</option>	<option value="Vi6308_8_Channel_Active_Receiver_Hub_with_AVC~62">Vi6308</option>	<option value="Vi6316_16_Channel_Active_Receiver_Hub_with_AVC~63">Vi6316</option>	<option value="Vi6332_32_Channel_Active_Receiver_Hub_with_AVC~64">Vi6332</option></select>    <div style="height: 10px;">    </div>    <h1 style="height: 30px;">        <span id="ctl00_Left_lblBric">Product Brochure</span>    </h1>    <div style="height: 45px;">    </div>    <select name="ctl00$Left$ddlLanguage" onchange="javascript:setTimeout('__doPostBack(ctl00$Left$ddlLanguage,)', 0)" id="ctl00_Left_ddlLanguage" class="textfield_01">	<option selected="selected" value="0">Select a Language</option>	<option value="Analog Products.pdf">English: Analog Products</option>	<option value="Productos Analogicos.pdf">Spanish: Productos Analogicos</option>	<option value="Productos IP.pdf">Spanish: Productos IP</option>	<option value="Produtos Analogicos.pdf">Portuguese: Produtos Analogicos</option>	<option value="Vigitron IP Brochure 2014.pdf">English: Vigitron IP Brochure 2014</option></select>    <br />    <br />    <br />            <div id="ctl00_Left_pnl1">	        <div style="text-align: left;">            <div style="height: 27px;">            </div>                        <!--ADDED BY UROOJ ON 2-JUNE-12                BEGIN: Constant Contact Text Link Email List Button -->            <div align="center" style="padding-top: 15px;">                <table border="0" cellpadding="0" cellspacing="0">                    <tr>                        <td align="center">                            <div style="margin-right: 3px; background-color: #3366FF; text-align: right;">                                <a href="http://www.vigitron.com/JoinMailingList.aspx">                                    <img src="https://imgssl.constantcontact.com/ui/images1/visitor/email2_trans.gif" border="0"></a></div>                        </td>                        <td align="center" style="padding-top: 1px;">                            <a class="blue_head" href="http://www.vigitron.com/JoinMailingList.aspx"  style="text-transform:capitalize;">Join Mailing List</a>                        </td>                    </tr>                </table>            </div>            <!-- END: Constant Contact Text Link Email List Button -->            <!-- BEGIN: SafeSubscribe -->                        <!-- END: SafeSubscribe -->        </div>    </div></div>            <!--left column ends here-->            <!--body data ends-->                <!--data content-->    <div class="content" align="center">        <table width="95%" border="0" cellspacing="0" cellpadding="0">            <tr>                <td height="50" align="left" valign="top" style="padding-left: 10px;">                    <table width="100%" border="0" cellspacing="0" cellpadding="0">                        <tr>                            <td width="33%">                                &nbsp;                            </td>                            <td width="29%">                                &nbsp;                            </td>                            <td width="38%">                                &nbsp;                            </td>                        </tr>                        <tr>                            <td class="navyblue_head">                                Datasheets                            </td>                            <td>                                &nbsp;                            </td>                            <td>                                &nbsp;                            </td>                        </tr>                        <tr>                            <td class="bold-gray">                                PDF Format                            </td>                            <td>                                &nbsp;                            </td>                            <td>                                &nbsp;                            </td>                        </tr>                        <tr>                            <td>                                <select name="ctl00$ContentPlaceHolder1$ddlDataSheetPDF" onchange="javascript:setTimeout('__doPostBack(ctl00$ContentPlaceHolder1$ddlDataSheetPDF,)', 0)" id="ctl00_ContentPlaceHolder1_ddlDataSheetPDF" style="width:180px;">	<option selected="selected" value="0">Please Select</option>	<option value="DSFGSD1022.pdf">FSGD-1022</option>	<option value="DSFGSD1022HP.pdf">FSGD-1022HP</option>	<option value="DSVB1001FM.pdf">VB1001F</option>	<option value="DSVB1001FM.pdf">VB1001M</option>	<option value="DSVB1001P.pdf">VB1001P</option>	<option value="DSVB1007M.pdf">VB1007M</option>	<option value="DSVi0020.pdf">Vi0020</option>	<option value="DSVi0021.pdf">Vi0021</option>	<option value="DSVi0030.pdf">Vi0030</option>	<option value="DSVi00850MM.pdf">Vi00850MM</option>	<option value="DSVi0116D.pdf">Vi0116D</option>	<option value="DSVi01310MM.pdf">Vi01310MM</option>	<option value="DSVi01310SM.pdf">Vi01310SM</option>	<option value="DSVi1001FM.pdf">Vi1001F</option>	<option value="DSVi1001FM.pdf">Vi1001M</option>	<option value="DSVi1001P.pdf">Vi1001P</option>	<option value="DSVi1003M.pdf">Vi1003M</option>	<option value="DSVi1004.pdf">Vi1004</option>	<option value="DSVi1006M.pdf">Vi1006M</option>	<option value="DSVi1008.pdf">Vi1008</option>	<option value="DSVi1016.pdf">Vi1016</option>	<option value="DSVi1032.pdf">Vi1032</option>	<option value="DSVi1051VP.pdf">Vi1051VP</option>	<option value="DSVi1053VPD.pdf">Vi1053VPD</option>	<option value="DSVi1054VP.pdf">Vi1054VP</option>	<option value="DSVi1060.pdf">Vi1060</option>	<option value="DSVi1061.pdf">Vi1061</option>	<option value="DSVi1062.pdf">Vi1062</option>	<option value="DSVi1100PS.pdf">Vi1100PS</option>	<option value="DSVi1108PS.pdf">Vi1108PS</option>	<option value="DSVi1116PS.pdf">Vi1116PS</option>	<option value="DSVi1204VPD.pdf">Vi1204VPD</option>	<option value="DSVi1216VPD.pdf">Vi1216VPD</option>	<option value="DSVi1304VPD.pdf">Vi1304VPD</option>	<option value="DSVi1316VPD.pdf">Vi1316VPD</option>	<option value="DSVi1408VPD.pdf">Vi1408VPD</option>	<option value="DSVi1416VPD.pdf">Vi1416VPD</option>	<option value="DSVi1508VPD.pdf">Vi1508VPD</option>	<option value="DSVi1516VPD.pdf">Vi1516VPD</option>	<option value="DSVi2001.pdf">Vi2001</option>	<option value="DSVi2202.pdf">Vi2202</option>	<option value="DSVi2208.pdf">Vi2208</option>	<option value="DSVi2208A.pdf">Vi2208A</option>	<option value="DSVi2216.pdf">Vi2216</option>	<option value="DSVi2216A.pdf">Vi2216A</option>	<option value="DSVi2216LT.pdf">Vi2216LT</option>	<option value="DSVi2300A.pdf">Vi2300A</option>	<option value="DSVi2301.pdf">Vi2301</option>	<option value="DSVi2301A.pdf">Vi2301A</option>	<option value="DSVi2304.pdf">Vi2304</option>	<option value="DSVi2304A.pdf">Vi2304A</option>	<option value="DSVi2308.pdf">Vi2308</option>	<option value="DSVi2308A.pdf">Vi2308A</option>	<option value="DSVi2316.pdf">Vi2316</option>	<option value="DSVi2316A.pdf">Vi2316A</option>	<option value="DSVi2400A.pdf">Vi2400A</option>	<option value="DSVi2401.pdf">Vi2401</option>	<option value="DSVi2401A.pdf">Vi2401A</option>	<option value="DSVi2404.pdf">Vi2404</option>	<option value="DSVi2404A.pdf">Vi2404A</option>	<option value="DSVi2408.pdf">Vi2408</option>	<option value="DSVi2408A.pdf">Vi2408A</option>	<option value="DSVi2416.pdf">Vi2416</option>	<option value="DSVi2416A.pdf">Vi2416A</option>	<option value="DSVi2508.pdf">Vi2508</option>	<option value="DSVi2516.pdf">Vi2516</option>	<option value="DSVi2608.pdf">Vi2608</option>	<option value="DSVi2616.pdf">Vi2616</option>	<option value="DSVi2701RX.pdf">Vi2701RX</option>	<option value="DSVi2701TX.pdf">Vi2701TX</option>	<option value="DSVi2804.pdf">Vi2804</option>	<option value="DSVi2804P.pdf">Vi2804P</option>	<option value="DSVi3002.pdf">Vi3002</option>	<option value="DSVi3010.pdf">Vi3010</option>	<option value="DSVi3026.pdf">Vi3026</option>	<option value="DSVi3326.pdf">Vi3326</option>	<option value="DSVi6100DR.pdf">Vi6100DR</option>	<option value="DSVi6100DT.pdf">Vi6100DT</option>	<option value="DSVi6100VR.pdf">Vi6100VR</option>	<option value="DSVi6100VT.pdf">Vi6100VT</option>	<option value="DSVi6104.pdf">Vi6104</option>	<option value="DSVi6108.pdf">Vi6108</option>	<option value="DSVi6116.pdf">Vi6116</option>	<option value="DSVi6116.pdf">Vi6216</option>	<option value="DSVi6132.pdf">Vi6132</option>	<option value="DSVi6200VR.pdf">Vi6200VR</option>	<option value="DSVi6204.pdf">Vi6204</option>	<option value="DSVi6208.pdf">Vi6208</option>	<option value="DSVi6232.pdf">Vi6232</option>	<option value="DSVi6300VT.pdf">Vi6300VT</option>	<option value="DSVi6308.pdf">Vi6308</option>	<option value="DSVi6316.pdf">Vi6316</option>	<option value="DSVi6332.pdf">Vi6332</option>	<option value="DSWGSW24040.pdf">WGSW-24040</option>	<option value="DSWGSW2620HP.pdf">WGSW-2620HP</option></select>                            </td>                            <td>                                &nbsp;                            </td>                            <td>                                &nbsp;                            </td>                        </tr>                        <tr>                            <td>                                &nbsp;                            </td>                            <td>                                &nbsp;                            </td>                            <td>                                &nbsp;                            </td>                        </tr>                        <tr>                            <td class="navyblue_head">                                A &amp; E Specs                            </td>                            <td>                                &nbsp;                            </td>                            <td>                                &nbsp;                            </td>                        </tr>                        <tr>                            <td class="bold-gray">                                RTF Format                            </td>                            <td>                                &nbsp;                            </td>                            <td>                                &nbsp;                            </td>                        </tr>                        <tr>                            <td>                                <select name="ctl00$ContentPlaceHolder1$ddlAERDF" onchange="javascript:setTimeout('__doPostBack(ctl00$ContentPlaceHolder1$ddlAERDF,)', 0)" id="ctl00_ContentPlaceHolder1_ddlAERDF" style="width:180px;">	<option value="0">Please Select</option>	<option value="AE_VB1001M.rtf">VB1001M</option>	<option value="AE_Vi0030.rtf">Vi0030</option>	<option value="AE_Vi1001P.rtf">Vi1001P</option>	<option value="AE_Vi1003M.rtf">Vi1003M</option>	<option value="AE_Vi1004.rtf">Vi1004</option>	<option value="AE_Vi1008.rtf">Vi1008</option>	<option value="AE_Vi1016.rtf">Vi1016</option>	<option value="AE_Vi1032.rtf">Vi1032</option>	<option value="AE_Vi1053VPD.rtf">Vi1053VPD</option>	<option value="AE_Vi1060.rtf">Vi1060</option>	<option value="AE_Vi1061.rtf">Vi1061</option>	<option value="AE_Vi1062.rtf">Vi1062</option>	<option value="AE_Vi1108PS.rtf">Vi1108PS</option>	<option value="AE_Vi1116PS.rtf">Vi1116PS</option>	<option value="AE_Vi1204VPD.rtf">Vi1204VPD</option>	<option value="AE_Vi1216VPD.rtf">Vi1216VPD</option>	<option value="AE_Vi1304VPD.rtf">Vi1304VPD</option>	<option value="AE_Vi1316VPD.rtf">Vi1316VPD</option>	<option value="AE_Vi1408VPD.rtf">Vi1408VPD</option>	<option value="AE_Vi1416VPD.rtf">Vi1416VPD</option>	<option value="AE_Vi1508VPD.rtf">Vi1508VPD</option>	<option value="AE_Vi1516VPD.rtf">Vi1516VPD</option>	<option value="AE_Vi2208.rtf">Vi2208</option>	<option value="AE_Vi2208A-AS-Vi2216A-AS.rtf">Vi2208A</option>	<option value="AE_Vi2208A-AS-Vi2216A-AS.rtf">Vi2216A</option>	<option value="AE_Vi2216.rtf">Vi2216</option>	<option value="AE_Vi2216LT.rtf">Vi2216LT</option>	<option value="AE_Vi2300A.rtf">Vi2300A</option>	<option value="AE_Vi2301.rtf">Vi2301</option>	<option value="AE_Vi2301A.rtf">Vi2301A</option>	<option value="AE_Vi2304.rtf">Vi2304</option>	<option value="AE_Vi2304A.rtf">Vi2304A</option>	<option value="AE_Vi2308.rtf">Vi2308</option>	<option value="AE_Vi2308A.rtf">Vi2308A</option>	<option value="AE_Vi2316.rtf">Vi2316</option>	<option value="AE_Vi2316A.rtf">Vi2316A</option>	<option value="AE_Vi2400A.rtf">Vi2400A</option>	<option value="AE_Vi2401.rtf">Vi2401</option>	<option value="AE_Vi2401A.rtf">Vi2401A</option>	<option value="AE_Vi2404.rtf">Vi2404</option>	<option value="AE_Vi2404A.rtf">Vi2404A</option>	<option value="AE_Vi2408.rtf">Vi2408</option>	<option value="AE_Vi2408A.rtf">Vi2408A</option>	<option value="AE_Vi2416.rtf">Vi2416</option>	<option value="AE_Vi2416A.rtf">Vi2416A</option>	<option value="AE_Vi2508.rtf">Vi2508</option>	<option value="AE_Vi2516.rtf">Vi2516</option>	<option value="AE_Vi2608.rtf">Vi2608</option>	<option value="AE_Vi2616.rtf">Vi2616</option>	<option value="AE_Vi2701Rx-Tx.rtf">Vi2701RX/TX</option>	<option value="AE_Vi2804.doc">Vi2804</option>	<option value="AE_Vi2804P.doc">Vi2804P</option>	<option value="AE_Vi3002.rtf">Vi3002</option>	<option value="AE_Vi3010.rtf">Vi3010</option>	<option value="AE_Vi3026.rtf">Vi3026</option>	<option value="AE_Vi3326.rtf">Vi3326</option>	<option value="AE_Vi6100DR.rtf">Vi6100DR</option>	<option value="AE_Vi6100DT.rtf">Vi6100DT</option>	<option value="AE_Vi6100VR.rtf">Vi6100VR</option>	<option value="AE_Vi6100VT.rtf">Vi6100VT</option>	<option value="AE_Vi6104.rtf">Vi6104</option>	<option value="AE_Vi6108.rtf">Vi6108</option>	<option value="AE_Vi6108J.rtf">Vi6108J</option>	<option value="AE_Vi6116.rtf">Vi6116</option>	<option value="AE_Vi6116J.rtf">Vi6116J</option>	<option value="AE_Vi6132.rtf">Vi6132</option>	<option value="AE_Vi6132J.rtf">Vi6132J</option>	<option value="AE_Vi6200VR.rtf">Vi6200VR</option>	<option value="AE_Vi6204.rtf">Vi6204</option>	<option value="AE_Vi6208.rtf">Vi6208</option>	<option value="AE_Vi6208J.rtf">Vi6208J</option>	<option value="AE_Vi6216.rtf">Vi6216</option>	<option value="AE_Vi6216J.rtf">Vi6216J</option>	<option value="AE_Vi6232.rtf">Vi6232</option>	<option value="AE_Vi6232J.rtf">Vi6232J</option>	<option value="AE_Vi6300VT.rtf">Vi6300VT</option>	<option value="AE_Vi6308.rtf">Vi6308</option>	<option value="AE_Vi6308J.rtf">Vi6308J</option>	<option value="AE_Vi6316.rtf">Vi6316</option>	<option value="AE_Vi6316J.rtf">Vi6316J</option>	<option value="AE_Vi6332.rtf">Vi6332</option>	<option value="AE_Vi6332J.rtf">Vi6332J</option>	<option value="VB1001F_AE.rtf">VB1001F</option>	<option value="VB1007M_AE.rtf">VB1007M</option>	<option value="Vi1001F_AE.rtf">Vi1001F</option>	<option selected="selected" value="Vi1001M_AE.rtf">Vi1001M</option>	<option value="Vi1006M_AE.rtf">Vi1006M</option>	<option value="Vi1051VP_AE.rtf">Vi1051VP</option>	<option value="Vi1054VP_AE.rtf">Vi1054VP</option>	<option value="Vi1100PS_AE.rtf">Vi1100PS</option></select>                            </td>                            <td>                                &nbsp;                            </td>                            <td>                                &nbsp;                            </td>                        </tr>                        <tr>                            <td>                                &nbsp;                            </td>                            <td>                                &nbsp;                            </td>                            <td>                                &nbsp;                            </td>                        </tr>                        <tr>                            <td class="navyblue_head">                                Product Images                            </td>                            <td>                                &nbsp;                            </td>                            <td>                                &nbsp;                            </td>                        </tr>                        <tr>                            <td class="bold-gray">                                Low-Resolution JPEG                            </td>                            <td class="bold-gray">                                Hi-Resolution JPEG                            </td>                            <td>                                &nbsp;                            </td>                        </tr>                        <tr>                            <td style="height: 22px">                                <select name="ctl00$ContentPlaceHolder1$ddlProductimgLow" onchange="javascript:setTimeout('__doPostBack(ctl00$ContentPlaceHolder1$ddlProductimgLow,)', 0)" id="ctl00_ContentPlaceHolder1_ddlProductimgLow" style="width:180px;">	<option selected="selected" value="0">Please Select</option>	<option value="VB1001F_ILF.jpg">VB1001F</option>	<option value="VB1001M_ILF.jpg">VB1001M</option>	<option value="VB1001P_ILR.jpg">VB1001P</option>	<option value="VB1007M_ILF.jpg">VB1007M</option>	<option value="Vi0010_ILF.jpg">Vi0010</option>	<option value="Vi0012_ILF.jpg">Vi0012</option>	<option value="Vi0012_ILF.jpg">Vi0012</option>	<option value="Vi0013_ILF.jpg">Vi0013</option>	<option value="Vi0014_ILF.jpg">Vi0014</option>	<option value="Vi0020_ILR.jpg">Vi0020</option>	<option value="Vi0021_ILF.jpg">Vi0021</option>	<option value="Vi0030_ILF.jpg">Vi0030</option>	<option value="Vi00850MM_ILF.jpg">Vi00850MM</option>	<option value="Vi0116D_ILF.jpg">Vi0116D</option>	<option value="Vi01310MM_ILF.jpg">Vi01310MM</option>	<option value="Vi01310SM_ILF.jpg">Vi01310SM</option>	<option value="Vi1001F_ILF.jpg">Vi1001F</option>	<option value="Vi1001M_ILF.jpg">Vi1001M</option>	<option value="Vi1001P_ILF.jpg">Vi1001P</option>	<option value="Vi1003M_ILF.jpg">Vi1003M</option>	<option value="Vi1004_ILF.jpg">Vi1004</option>	<option value="Vi1008_ILF.jpg">Vi1008</option>	<option value="Vi1016_ILF.jpg">Vi1016</option>	<option value="Vi1032_ILF.jpg">Vi1032</option>	<option value="Vi1051VP_ILR.jpg">Vi1051VP</option>	<option value="Vi1053VPD_ILF.jpg">Vi1053VPD</option>	<option value="Vi1054VP_ILB.jpg">Vi1054VP</option>	<option value="Vi1060_ILF.jpg">Vi1060</option>	<option value="Vi1061_ILS.jpg">Vi1061</option>	<option value="Vi1062_ILS.jpg">Vi1062</option>	<option value="Vi1100PS_ILF.jpg">Vi1100PS</option>	<option value="Vi1108PS_ILR.jpg">Vi1108PS</option>	<option value="Vi1116PS_ILR.jpg">Vi1116PS</option>	<option value="Vi1120_ILF.jpg">Vi1120</option>	<option value="Vi1204VPD_ILF.jpg">Vi1204VPD</option>	<option value="Vi1216VPD_ILR.jpg">Vi1216VPD</option>	<option value="Vi1304VPD_ILF.jpg">Vi1304VPD</option>	<option value="Vi1316VPD_ILF.jpg">Vi1316VPD</option>	<option value="Vi1408VPD_ILR.jpg">Vi1408VPD</option>	<option value="Vi1416VPD_ILR.jpg">Vi1416VPD</option>	<option value="Vi1508VPD_ILR.jpg">Vi1508VPD</option>	<option value="Vi1516VPD_ILR.jpg">Vi1516VPD</option>	<option value="Vi2001_IHF.jpg">Vi2001</option>	<option value="Vi2202_ILF.jpg">Vi2202</option>	<option value="Vi2208_ILF.jpg">Vi2208</option>	<option value="Vi2208A_ILF.jpg">Vi2208A</option>	<option value="Vi2216_ILF.jpg">Vi2216</option>	<option value="Vi2216A_ILF.jpg">Vi2216A</option>	<option value="Vi2216LT_ILF.jpg">Vi2216LT</option>	<option value="Vi2300A_ILF.jpg">Vi2300A Mini</option>	<option value="Vi2301_ILS.jpg">Vi2301</option>	<option value="Vi2301A_ILF.jpg">Vi2301A</option>	<option value="Vi2304_ILF.jpg">Vi2304</option>	<option value="Vi2304A_ILF.jpg">Vi2304A</option>	<option value="Vi2308_ILF.jpg">Vi2308</option>	<option value="Vi2308A_ILF.jpg">Vi2308A</option>	<option value="Vi2316_ILF.jpg">Vi2316</option>	<option value="Vi2316A_ILF.jpg">Vi2316A</option>	<option value="Vi2400A_ILF.jpg">Vi2400A Mini</option>	<option value="Vi2401_ILS.jpg">Vi2401</option>	<option value="Vi2401A_ILF.jpg">Vi2401A</option>	<option value="Vi2404_ILF.jpg">Vi2404</option>	<option value="Vi2404A_ILF.jpg">Vi2404A</option>	<option value="Vi2408_ILF.jpg">Vi2408</option>	<option value="Vi2408A_ILF.jpg">Vi2408A</option>	<option value="Vi2416_ILF.jpg">Vi2416</option>	<option value="Vi2416A_ILF.jpg">Vi2416A</option>	<option value="Vi2508_ILF.jpg">Vi2508</option>	<option value="Vi2516_ILF.jpg">Vi2516</option>	<option value="Vi2608_ILF.jpg">Vi2608</option>	<option value="Vi2616_ILF.jpg">Vi2616</option>	<option value="Vi2701RX_ILF.jpg">Vi2701RX</option>	<option value="Vi2701TX_ILF.jpg">Vi2701TX</option>	<option value="Vi2804_LOW.jpg">Vi2804</option>	<option value="Vi2804P_ILF.jpg">Vi2804P</option>	<option value="Vi3002_ILF.jpg">Vi3002</option>	<option value="Vi3010_ILF.jpg">Vi3010</option>	<option value="Vi3026_ILF.jpg">Vi3026</option>	<option value="Vi3326_ILF.jpg">Vi3326</option>	<option value="Vi6100DR_ILS.jpg">Vi6100DR</option>	<option value="Vi6100DT_ILS.jpg">Vi6100DT</option>	<option value="Vi6100VR_ILS.jpg">Vi6100VR</option>	<option value="Vi6100VT_ILS.jpg">Vi6100VT</option>	<option value="Vi6104_ILF.jpg">Vi6104</option>	<option value="Vi6108_ILF.jpg">Vi6108</option>	<option value="Vi6116_ILF.jpg">Vi6116</option>	<option value="Vi6132_ILF.jpg">Vi6132</option>	<option value="Vi6200VR_ILS.jpg">Vi6200VR</option>	<option value="Vi6204_ILF.jpg">Vi6204</option>	<option value="Vi6208_ILF.jpg">Vi6208</option>	<option value="Vi6216_ILF.jpg">Vi6216</option>	<option value="Vi6232_ILF.jpg">Vi6232</option>	<option value="Vi6300VT_ILS.jpg">Vi6300VT</option>	<option value="Vi6308_ILF.jpg">Vi6308</option>	<option value="Vi6316_ILF.jpg">Vi6316</option>	<option value="Vi6332_ILF.jpg">Vi6332</option></select>                            </td>                            <td style="height: 22px">                                <select name="ctl00$ContentPlaceHolder1$ddlProductImgHi" onchange="javascript:setTimeout('__doPostBack(ctl00$ContentPlaceHolder1$ddlProductImgHi,)', 0)" id="ctl00_ContentPlaceHolder1_ddlProductImgHi" style="width:180px;">	<option selected="selected" value="0">Please Select</option>	<option value="VB1001F_IHF.jpg">VB1001F</option>	<option value="VB1001M_IHF.jpg">VB1001M</option>	<option value="VB1001P_IHR.jpg">VB1001P</option>	<option value="VB1007M_IHF.jpg">VB1007M</option>	<option value="Vi0010_IHF.jpg">Vi0010</option>	<option value="Vi0012_IHF.jpg">Vi0012</option>	<option value="Vi0012_IHF.jpg">Vi0012</option>	<option value="Vi0013_IHF.jpg">Vi0013</option>	<option value="Vi0014_IHF.jpg">Vi0014</option>	<option value="Vi0020_IHR.jpg">Vi0020</option>	<option value="Vi0021_IHF.jpg">Vi0021</option>	<option value="Vi0030_IHF.jpg">Vi0030</option>	<option value="Vi00850MM_IHF.jpg">Vi00850MM</option>	<option value="Vi0116D_IHF.jpg">Vi0116D</option>	<option value="Vi01310MM_IHF.jpg">Vi01310MM</option>	<option value="Vi01310SM_IHF.jpg">Vi01310SM</option>	<option value="Vi1001F_IHF.jpg">Vi1001F</option>	<option value="Vi1001M_IHF.jpg">Vi1001M</option>	<option value="Vi1001P_IHF.jpg">Vi1001P</option>	<option value="Vi1003M_IHF.jpg">Vi1003M</option>	<option value="Vi1004_IHF.jpg">Vi1004</option>	<option value="Vi1006M_IHF.jpg">Vi1006M</option>	<option value="Vi1008_IHF.jpg">Vi1008</option>	<option value="Vi1016_IHF.jpg">Vi1016</option>	<option value="Vi1032_IHF.jpg">Vi1032</option>	<option value="Vi1051VP_IHR.jpg">Vi1051VP</option>	<option value="Vi1053VPD_IHS.jpg">Vi1053VPD</option>	<option value="Vi1054VP_IHB.jpg">Vi1054VP</option>	<option value="Vi1060_IHF.jpg">Vi1060</option>	<option value="Vi1061_IHS.jpg">Vi1061</option>	<option value="Vi1062_IHS.jpg">Vi1062</option>	<option value="Vi1100PS_IHF.jpg">Vi1100PS</option>	<option value="Vi1108PS_IHR.jpg">Vi1108PS</option>	<option value="Vi1116PS_IHR.jpg">Vi1116PS</option>	<option value="Vi1120_IHF.jpg">Vi1120</option>	<option value="Vi1204VPD_IHF.jpg">Vi1204VPD</option>	<option value="Vi1216VPD_IHR.jpg">Vi1216VPD</option>	<option value="Vi1304VPD_IHF.jpg">Vi1304VPD</option>	<option value="Vi1316VPD_IHS.jpg">Vi1316VPD</option>	<option value="Vi1408VPD_IHR.jpg">Vi1408VPD</option>	<option value="Vi1416VPD_IHR.jpg">Vi1416VPD</option>	<option value="Vi1508VPD_IHR.jpg">Vi1508VPD</option>	<option value="Vi1516VPD_IHR.jpg">Vi1516VPD</option>	<option value="Vi2001_IHF.jpg">Vi2001</option>	<option value="Vi2202_IHF.jpg">Vi2202</option>	<option value="Vi2208_IHF.jpg">Vi2208</option>	<option value="Vi2208A_IHF.jpg">Vi2208A</option>	<option value="Vi2216_IHF.jpg">Vi2216</option>	<option value="Vi2216A_IHF.jpg">Vi2216A</option>	<option value="Vi2216LT_IHF.jpg">Vi2216LT</option>	<option value="Vi2300A_IHF.jpg">Vi2300A Mini</option>	<option value="Vi2301_IHS.jpg">Vi2301</option>	<option value="Vi2301A_IHF.jpg">Vi2301A</option>	<option value="Vi2304_IHF.jpg">Vi2304</option>	<option value="Vi2304A_IHF.jpg">Vi2304A</option>	<option value="Vi2308_IHF.jpg">Vi2308</option>	<option value="Vi2308A_IHF.jpg">Vi2308A</option>	<option value="Vi2316_IHF.jpg">Vi2316</option>	<option value="Vi2316A_IHF.jpg">Vi2316A</option>	<option value="Vi2400A_IHF.jpg">Vi2400A Mini</option>	<option value="Vi2401_IHS.jpg">Vi2401</option>	<option value="Vi2401A_IHF.jpg">Vi2401A</option>	<option value="Vi2404_IHF.jpg">Vi2404</option>	<option value="Vi2404A_IHF.jpg">Vi2404A</option>	<option value="Vi2408_IHF.jpg">Vi2408</option>	<option value="Vi2408A_IHF.jpg">Vi2408A</option>	<option value="Vi2416_IHF.jpg">Vi2416</option>	<option value="Vi2416A_IHF.jpg">Vi2416A</option>	<option value="Vi2508_IHF.jpg">Vi2508</option>	<option value="Vi2516_IHF.jpg">Vi2516</option>	<option value="Vi2608_IHF.jpg">Vi2608</option>	<option value="Vi2616_IHF.jpg">Vi2616</option>	<option value="Vi2701RX_IHF.jpg">Vi2701RX</option>	<option value="Vi2701TX_IHF.jpg">Vi2701TX</option>	<option value="Vi2804_HI.jpg">Vi2804</option>	<option value="Vi2804P_IHF.jpg">Vi2804P</option>	<option value="Vi3002_IHF.jpg">Vi3002</option>	<option value="Vi3010_IHF.jpg">Vi3010</option>	<option value="Vi3026_IHF.jpg">Vi3026</option>	<option value="Vi3326_IHF.jpg">Vi3326</option>	<option value="Vi6100DR_IHS.jpg">Vi6100DR</option>	<option value="Vi6100DT_IHS.jpg">Vi6100DT</option>	<option value="Vi6100VR_IHS.jpg">Vi6100VR</option>	<option value="Vi6100VT_IHS.jpg">Vi6100VT</option>	<option value="Vi6104_IHF.jpg">Vi6104</option>	<option value="Vi6108_IHF.jpg">Vi6108</option>	<option value="Vi6116_IHF.jpg">Vi6116</option>	<option value="Vi6132_IHF.jpg">Vi6132</option>	<option value="Vi6200VR_IHS.jpg">Vi6200VR</option>	<option value="Vi6204_IHF.jpg">Vi6204</option>	<option value="Vi6208_IHF.jpg">Vi6208</option>	<option value="Vi6216_IHF.jpg">Vi6216</option>	<option value="Vi6232_IHF.jpg">Vi6232</option>	<option value="Vi6300VT_IHS.jpg">Vi6300VT</option>	<option value="Vi6308_IHF.jpg">Vi6308</option>	<option value="Vi6316_IHF.jpg">Vi6316</option>	<option value="Vi6332_IHF.jpg">Vi6332</option></select>                            </td>                            <td style="height: 22px">                                &nbsp;                            </td>                        </tr>                        <tr>                            <td>                                &nbsp;                            </td>                            <td>                                &nbsp;                            </td>                            <td>                                &nbsp;                            </td>                        </tr>                        <tr>                            <td class="navyblue_head">                                Product Drawings                            </td>                            <td>                                &nbsp;                            </td>                            <td>                                &nbsp;                            </td>                        </tr>                        <tr>                            <td class="bold-gray">                                PDF Format                            </td>                            <td class="bold-gray">                                Visio Format                            </td>                            <td class="bold-gray" style="padding-left: 25px;">                                DWG Format                            </td>                        </tr>                        <tr>                            <td>                                <select name="ctl00$ContentPlaceHolder1$ddlProductDrPDF" onchange="javascript:setTimeout('__doPostBack(ctl00$ContentPlaceHolder1$ddlProductDrPDF,)', 0)" id="ctl00_ContentPlaceHolder1_ddlProductDrPDF" style="width:180px;">	<option selected="selected" value="0">Please Select</option>	<option value="DRVi0021_0113.pdf">Vi0021 Drawing</option>	<option value="VB1001M_DR.pdf">VB1001M</option>	<option value="VB1001P_DR.pdf">VB1001P</option>	<option value="VB1007M_DR.pdf">VB1007M</option>	<option value="Vi1001M_DR.pdf">Vi1001M</option>	<option value="Vi1003M_DR.pdf">Vi1003M</option>	<option value="Vi1006M_DR.pdf">Vi1006M</option>	<option value="Vi1032_DR.pdf">Vi1032</option>	<option value="Vi1051VP_DR.pdf">Vi1051VP</option>	<option value="Vi1053VPD_DR.pdf">Vi1053VPD</option>	<option value="Vi1054VP_DR.pdf">Vi1054VP</option>	<option value="Vi1060_DR.pdf">Vi1060</option>	<option value="Vi1100PS_DR.pdf">Vi1100PS</option>	<option value="Vi1108PS_DR.pdf">Vi1108PS</option>	<option value="Vi1116PS_DR.pdf">Vi1116PS</option>	<option value="Vi1204VPD_DR.pdf">Vi1204VPD</option>	<option value="Vi1216VPD_DR.pdf">Vi1216VPD</option>	<option value="Vi1304VPD_DR.pdf">Vi1304VPD</option>	<option value="Vi1316VPD_DR.pdf">Vi1316VPD</option>	<option value="Vi1408VPD_DR.pdf">Vi1408VPD</option>	<option value="Vi1416VPD_DR.pdf">Vi1416VPD</option>	<option value="Vi1508VPD_DR.pdf">Vi1508VPD</option>	<option value="Vi2200s_DR.pdf">Vi2208/Vi2216</option>	<option value="Vi2301_DR.pdf">Vi2301</option>	<option value="Vi2304_DR.pdf">Vi2304</option>	<option value="Vi2308_DR.pdf">Vi2308</option>	<option value="Vi2316_DR.pdf">Vi2316</option>	<option value="Vi2401_DR.pdf">Vi2401</option>	<option value="Vi2404_DR.pdf">Vi2404</option>	<option value="Vi2408_DR.pdf">Vi2408</option>	<option value="Vi2416_DR.pdf">Vi2416</option>	<option value="Vi2804_DR.pdf">Vi2804/Vi2804P</option>	<option value="Vi6100DT_DR.pdf">Vi6100DT</option>	<option value="Vi6100VR_DR.pdf">Vi6100VR</option>	<option value="Vi6100VT_DR.pdf">Vi6100VT</option>	<option value="Vi6104_DR.pdf">Vi6104</option>	<option value="Vi6108_DR.pdf">Vi6108</option>	<option value="Vi6116_DR.pdf">Vi6116</option>	<option value="Vi6132_DR.pdf">Vi6132</option>	<option value="Vi6200VR_DR.pdf">Vi6200VR</option>	<option value="Vi6204_DR.pdf">Vi6204</option>	<option value="Vi6208_DR.pdf">Vi6208</option>	<option value="Vi6216_DR.pdf">Vi6216</option>	<option value="Vi6232_DR.pdf">Vi6232</option>	<option value="Vi6300VT_DR.pdf">Vi6300VT</option>	<option value="Vi6308_DR.pdf">Vi6308</option>	<option value="Vi6316_DR.pdf">Vi6316</option>	<option value="Vi6332_DR.pdf">Vi6332</option></select>                            </td>                            <td>                                <select name="ctl00$ContentPlaceHolder1$ddlProductDrViso" onchange="javascript:setTimeout('__doPostBack(ctl00$ContentPlaceHolder1$ddlProductDrViso,)', 0)" id="ctl00_ContentPlaceHolder1_ddlProductDrViso" style="width:180px;">	<option selected="selected" value="0">Please Select</option>	<option value="VB1001M_DR.vsd">VB1001M</option>	<option value="VB1001P.vsd">VB1001P</option>	<option value="VB1007M.vsd">VB1007M</option>	<option value="Vi1001M_DR.vsd">Vi1001M</option>	<option value="Vi1003M_DR.vsd">Vi1003M</option>	<option value="Vi1004_DR.vsd">Vi1004</option>	<option value="Vi1006M_DR.vsd">Vi1006M</option>	<option value="Vi1032_DR.vsd">Vi1032</option>	<option value="Vi1051VP_DR.vsd">Vi1051VP</option>	<option value="Vi1054VP_DR.vsd">Vi1054VPD</option>	<option value="Vi1060.vsd">Vi1060</option>	<option value="Vi1100PS_DR.vsd">Vi1100PS</option>	<option value="Vi1108PS_DR.vsd">Vi1108PS</option>	<option value="Vi1116PS_DR.vsd">Vi1116PS</option>	<option value="Vi1204VPD_DR.vsd">Vi1204VDP</option>	<option value="Vi1216VPD_DR.vsd">Vi1216VPD</option>	<option value="Vi1304VPD_DR.vsd">Vi1304VPD</option>	<option value="Vi1316VPD_DR.vsd">Vi1316VPD</option>	<option value="Vi1408VPD_DR.vsd">Vi1408VPD</option>	<option value="Vi1416VPD_DR.vsd">Vi1416VPD</option>	<option value="Vi1516VPD_DR.vsd">Vi1508VPD</option>	<option value="Vi1516VPD_DR.vsd">Vi1516VPD</option>	<option value="Vi2208_DR.vsd">Vi2208</option>	<option value="Vi2216_DR.vsd">Vi2216</option>	<option value="Vi2301_DR.vsd">Vi2301</option>	<option value="Vi2304_DR.vsd">Vi2304</option>	<option value="Vi2308_DR.vsd">Vi2308</option>	<option value="Vi2316_DR.vsd">Vi2316</option>	<option value="Vi2401_DR.vsd">Vi2401</option>	<option value="Vi2404_DR.vsd">Vi2404</option>	<option value="Vi2408_DR.vsd">Vi2408</option>	<option value="Vi2416_DR.vsd">Vi2416</option>	<option value="Vi2804_DR.vsd">Vi2804</option>	<option value="Vi2804P_DR.vsd">Vi2804P</option>	<option value="Vi6100DT_DR.vsd">Vi6100DR</option>	<option value="Vi6100VR_DR.vsd">Vi6100VR</option>	<option value="Vi6100VT_DR.vsd">Vi6100VT</option>	<option value="Vi6104_DR.vsd">Vi6104</option>	<option value="Vi6108_DR.vsd">Vi6108</option>	<option value="Vi6116_DR.vsd">Vi6116</option>	<option value="Vi6132_DR.vsd">Vi6132</option>	<option value="Vi6200VR_DR.vsd">Vi6200VR</option>	<option value="Vi6208_DR.vsd">Vi6208</option>	<option value="Vi6216_DR.vsd">Vi6216</option>	<option value="Vi6232_DR.vsd">Vi6232</option>	<option value="Vi6308_DR.vsd">Vi6308</option>	<option value="Vi6316_DR.vsd">Vi6316</option>	<option value="Vi6332_DR.vsd">Vi6332</option></select>                            </td>                            <td style="padding-left: 25px;">                                <select name="ctl00$ContentPlaceHolder1$ddlProductDrDWG" onchange="javascript:setTimeout('__doPostBack(ctl00$ContentPlaceHolder1$ddlProductDrDWG,)', 0)" id="ctl00_ContentPlaceHolder1_ddlProductDrDWG" style="width:180px;">	<option selected="selected" value="0">Please Select</option>	<option value="VB1001M_DR.dwg">VB1001M</option>	<option value="VB1001P_DR.dwg">VB1001P</option>	<option value="VB1007M_DR.dwg">VB1007M</option>	<option value="Vi1001M_DR.dwg">Vi1001M</option>	<option value="Vi1003M_DR.dwg">Vi1003M</option>	<option value="Vi1004_DR.dwg">Vi1004</option>	<option value="Vi1006M_DR.dwg">Vi1006M</option>	<option value="Vi1032_DR.dwg">Vi1032</option>	<option value="Vi1051VP_DR.dwg">Vi1051VP</option>	<option value="Vi1053VPD_DR.dwg">Vi1053VPD</option>	<option value="Vi1054VP_DR.dwg">Vi1054VPD</option>	<option value="Vi1060_DR.dwg">Vi1060</option>	<option value="Vi1100PS_DR.dwg">Vi1100PS</option>	<option value="Vi1108PS_DR.dwg">Vi1108PS</option>	<option value="Vi1116PS_DR.dwg">Vi1116PS</option>	<option value="Vi1204VPD_DR.dwg">Vi1204VDP</option>	<option value="Vi1216VPD_DR.dwg">Vi1216VPD</option>	<option value="Vi1304VPD_DR.dwg">Vi1304VPD</option>	<option value="Vi1316VPD_DR.dwg">Vi1316VPD</option>	<option value="Vi1408VPD_DR.dwg">Vi1408VPD</option>	<option value="Vi1416VPD_DR.dwg">Vi1416VPD</option>	<option value="Vi1508VPD_DR.dwg">Vi1508VPD</option>	<option value="Vi1516VPD_DR.dwg">Vi1516VPD</option>	<option value="Vi2200s_DR.dwg">Vi2208/Vi2216</option>	<option value="Vi2301_DR.dwg">Vi2301</option>	<option value="Vi2304_DR.dwg">Vi2304</option>	<option value="Vi2316_DR.dwg">Vi2316</option>	<option value="Vi2401_DR.dwg">Vi2401</option>	<option value="Vi2404_DR.dwg">Vi2404</option>	<option value="Vi2416_DR.dwg">Vi2416</option>	<option value="Vi2804_DR.dwg">Vi2804/Vi2804P</option>	<option value="Vi6000VR_DR.dwg">Vi6100VR</option>	<option value="Vi6100DR_DR.dwg">Vi6100DR</option>	<option value="Vi6100DT_DR.dwg">Vi6100DT</option>	<option value="Vi6100VT_DR.dwg">Vi6100VT</option>	<option value="Vi6104_DR.dwg">Vi6104</option>	<option value="Vi6108_DR.dwg">Vi6108</option>	<option value="Vi6116_DR.dwg">Vi6116</option>	<option value="Vi6132_DR.dwg">Vi6132</option>	<option value="Vi6200VR_DR.dwg">Vi6200VR</option>	<option value="Vi6204_DR.dwg">Vi6204</option>	<option value="Vi6208_DR.dwg">Vi6208</option>	<option value="Vi6216_DR.dwg">Vi6216</option>	<option value="Vi6232_DR.dwg">Vi6232</option>	<option value="Vi6300VT_DR.dwg">Vi6300VT</option>	<option value="Vi6308_DR.dwg">Vi6308</option>	<option value="Vi6316_DR.dwg">Vi6316</option>	<option value="Vi6332_DR.dwg">Vi6332</option></select>                            </td>                        </tr>                        <tr>                            <td>                                &nbsp;                            </td>                            <td>                                &nbsp;                            </td>                            <td>                                &nbsp;                            </td>                        </tr>                        <tr>                            <td class="navyblue_head">                                Vigitron Logo                            </td>                            <td>                                &nbsp;                            </td>                            <td>                                &nbsp;                            </td>                        </tr>                        <tr>                            <td class="bold-gray">                                Select a format                            </td>                            <td>                                &nbsp;                            </td>                            <td>                                &nbsp;                            </td>                        </tr>                        <tr>                            <td>                                <select name="ctl00$ContentPlaceHolder1$ddlLogo" onchange="javascript:setTimeout('__doPostBack(ctl00$ContentPlaceHolder1$ddlLogo,)', 0)" id="ctl00_ContentPlaceHolder1_ddlLogo" style="width:180px;">	<option selected="selected" value="0">Please Select</option>	<option value="Vigitron_Logo.eps">EPS Format</option>	<option value="Vigitron_Logo.gif">GIF Format</option>	<option value="Vigitron_Logo.jpg">JPG Format</option>	<option value="Vigitron_Logo.tif">TIF Format</option></select>                            </td>                            <td>                                <span id="ctl00_ContentPlaceHolder1_lblb"></span>                            </td>                            <td>                                &nbsp;                            </td>                        </tr>                        <tr>                            <td style="padding-top:25px; padding-bottom:30px;">                                <a class="blue_head" href="http://www.vigitron.com/Vigitron_Warranty.pdf" style="text-transform:capitalize;" target="_blank">Vigitron Warranty Policy</a>                            </td>                            <td>                                &nbsp;                            </td>                            <td>                                &nbsp;                            </td>                        </tr>                    </table>                </td>            </tr>        </table>    </div>            <div style="clear: both;">            </div>        </div>    </div>    <!--BODY DATA SECTIONS ENDS HERE-->    <!--FOOTER STARTS HERE-->    <div id="footer" align="center">        Â© 2014 Vigitron, Inc. All Rights Reserved.    </div>    <!--FOOTER ENDS HERE-->    <!-- Hidden field to set top navigation image on the basis of child pages -->    <input type="hidden" name="ctl00$hid" id="ctl00_hid" value="5" />    <!-- End -->    </form>    <script type="text/javascript">        var _gaq = _gaq || [];        _gaq.push(['_setAccount', 'UA-10614503-2']);        _gaq.push(['_setDomainName', 'none']);        _gaq.push(['_setAllowLinker', true]);        _gaq.push(['_trackPageview']);        (function()             var ga = document.createElement('script'); ga.type = 'text/javascript'; ga.async = true;            ga.src = ('https:' == document.location.protocol ? 'https://ssl' : 'http://www') + '.google-analytics.com/ga.js';            var s = document.getElementsByTagName('script')[0]; s.parentNode.insertBefore(ga, s);        )();    </script></body></html>